{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["分部分项工程量清单","措施项目清单(一)","措施项目清单(二)","其他项目清单","零星工作项目表","规费和税金清单(合肥)"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"分部分项工程量清单","index":0,"n_rows":20,"n_cols":6,"rows_kept":20,"merged":[[0,0,1,5],[2,0,2,5],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5]],"flags":["formulas_cached_only"]}
["分部分项工程量清单"]
[]
["工程名称:安徽国际会展中心B区消防系统维修"]
["序号","项目编码","项  目  名  称","项目特征及工作内容","计量单位","工程数量"]
[]
[null,null,"设备管道维修",null,null,0]
["1","040503001001","阀门拆除","1、公称直径:DN200\r\n2、阀门类型:法兰阀门","个",{"v":9,"d":"9.000"}]
["2","040503003001","室外消火栓拆除",null,"个",{"v":6,"d":"6.000"}]
["3","031004004001","消防水炮拆除安装","1. 工作电压：DC24V;2. 耗功：15W； 3. 启动时间:≤25S;4. 工作环境温度:4℃～55℃;5.安装方式:悬挂;6.喷射方式:采用往复摆动喷射;7.灭火设备压力及流量:灭火设备喷水出口出水压力0.6MPa,出口流量为5L/S;8.其它参数详见图纸及招标文件等有关资料\r\r\n工作内容：安装、调试","套",{"v":1,"d":"1.000"}]
["4","040504001001","阀门井","1.开挖尺寸：2m*2m*1.5m;2.其它参数详见图纸\r\n工作内容：1、垫层铺筑\r\n2、井盖井座制作、安装\r\n3、砌筑\r\n4、勾缝\r\n5、抹面\r\n6、防腐\r\n7、盖板、过梁制作、安装","座",{"v":9,"d":"9.000"}]
["5","030804014001","消防水箱漏水维修","维修内容：1.堵漏；2.更换水箱板块","套",{"v":1,"d":"1.000"}]
["6","040501006001","塑料管道铺设","1、输送介质:消防给水\r\n2、管材材质:PE给水管\r\n3、管材规格:DN200\r\n4、管道基础:管底到管上端30CM细沙包封，10CM沙浆包封，人工素土回填，瓜子片垫层15CM\r\n工作内容：1、垫层铺筑\r\n2、基础铺筑\r\n3、管道铺设（含管件安装）\r\n4、井壁（墙）凿洞\r\n5、检测及试验\r\n6、消毒冲洗或吹扫","m",{"v":800,"d":"800.000"}]
["7","040501006002","塑料管道铺设","1、输送介质:消防给水\r\n2、管材材质:PE给水管\r\n3、管材规格:DN150\r\n4、管道基础:管底到管上端30CM细沙包封，10CM沙浆包封，人工素土回填，瓜子片垫层15CM\r\n工作内容：1、垫层铺筑\r\n2、基础铺筑\r\n3、管道铺设\r\n4、井壁（墙）凿洞\r\n5、检测及试验\r\n6、消毒冲洗或吹扫","m",{"v":700,"d":"700.000"}]
["8","040503001002","阀门安装","1、公称直径:DN150\r\n2、阀门类型:法兰阀门\r\n工作内容：1、阀门解体、检查、清洗、研磨\r\n2、法兰片焊接\r\n3、法兰安装\r\n4、阀门安装","个",{"v":9,"d":"9.000"}]
["9","040503001003","阀门安装","1、公称直径:DN50\r\n2、阀门类型:法兰阀门\r\n工作内容：1、阀门解体、检查、清洗、研磨\r\n2、法兰片焊接\r\n3、法兰安装\r\n4、阀门安装","个",{"v":4,"d":"4.000"}]
["10","040503003002","室外消火栓","型号:DN100\r\n工作内容：1、法兰片焊接\r\n2、安装\r\n3、法兰安装","个",{"v":6,"d":"6.000"}]
[null,null,"电气及通风维修",null,null,0]
["11","030204018001","风机双电源控制箱拆除并安装","1.要求：与排污泵配套；工作内容：安装","台",{"v":8,"d":"8.000"}]
["12","030901002001","风机拆除安装","按原风机规格型号更换\r\n工作内容：1、安装\r\n2、设备支架制作、安装\r\n3、旧风机拆除","台",{"v":8,"d":"8.000"}]
["13","030208001001","电力电缆","型号:YJV-5*10\r\n工作内容：电缆敷设","m",{"v":400,"d":"400.000"}]

{"sheet":"措施项目清单(一)","index":1,"n_rows":16,"n_cols":2,"rows_kept":16,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1]],"flags":["formulas_cached_only"]}
["措施项目清单"]
[]
["工程名称:安徽国际会展中心B区消防系统维修                            第&P页共&S页"]
["序号","项  目  名  称"]
[]
["1","(通用取费)环境保护费 "]
["2","(通用取费)文明施工费 "]
["3","(通用取费)安全施工费 "]
["4","(通用取费)临时设施费 "]
["5","(通用取费)夜间施工费 "]
["6","(通用取费)缩短工期措施费 "]
["7","(通用取费)二次搬运费 "]
["8","(通用取费)已完工程及设备保护费 "]
["9","(通用取费)冬雨季施工增加费 "]
["10","(通用取费)工程定位复测、工程点交、场地清理 "]
["11","(通用取费)生产工具用具使用费 "]

{"sheet":"措施项目清单(二)","index":2,"n_rows":6,"n_cols":5,"rows_kept":6,"merged":[[0,0,1,4],[2,0,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4]],"flags":["formulas_cached_only"]}
["措施项目清单（二）"]
[]
["工程名称:安徽国际会展中心B区消防系统维修                            第&P页共&S页"]
["序号","项  目  名  称","项 目 特 征 及 工 作 内 容","计量单位","工程数量"]
[]
["1","采暖工程系统调整以及通风工程检测、调试",null,"项",{"v":1,"d":"1.000"}]

{"sheet":"其他项目清单","index":3,"n_rows":11,"n_cols":3,"rows_kept":11,"merged":[[0,0,1,2],[2,0,2,2],[3,0,4,0],[3,1,4,1],[3,2,4,2]],"flags":["formulas_cached_only"]}
["其他项目清单"]
[]
["工程名称:安徽国际会展中心B区消防系统维修                            第&P页共&S页"]
["序号","项   目   名   称","金额（元）"]
[]
["1","招标人部分",0]
[null,"   预留金",0]
[null,"   材料购置费",0]
["2","投标人部分",0]
[null,"   总承包服务费",0]
[null,"   零星工作项目费",0]

{"sheet":"零星工作项目表","index":4,"n_rows":14,"n_cols":4,"rows_kept":14,"merged":[[0,0,1,3],[2,0,2,3],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3]],"flags":["formulas_cached_only"]}
["零星工作项目表"]
[]
["工程名称:安徽国际会展中心B区消防系统维修                            第&P页共&S页"]
["序号","名      称","计量单位","数量"]
[]
["1","人工",null,0]
["1.1",null,null,0]
["1.2",null,null,0]
["2","材料",null,0]
["2.1",null,null,0]
["2.2",null,null,0]
["3","机械",null,0]
["3.1",null,null,0]
["3.2",null,null,0]

{"sheet":"规费和税金清单(合肥)","index":5,"n_rows":20,"n_cols":2,"rows_kept":20,"merged":[[0,0,1,1],[2,0,2,1],[3,0,4,0],[3,1,4,1]],"flags":["formulas_cached_only"]}
["规费和税金清单"]
[]
["工程名称:安徽国际会展中心B区消防系统维修                            第&P页共&S页"]
["序号","项  目  名  称"]
[]
["一","规费"]
["1","养老保险费"]
["2","失业保险费"]
["3","医疗保险费"]
["4","生育保险费"]
["5","工伤保险费"]
["6","住房公积金"]
["7","工程排污费"]
["二","税金"]
["8","增值税"]
["9","城市维护建设税"]
["10","教育附加费"]
["11","地方教育附加费"]
["12","水利建设基金"]
["三","合计"]