{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["1 E.1 分部分项工程量清单计价表","2 附录F 措施项目清单计价表","3 附录G 不可竞争项目清单与计价表","4 H.1 其他项目清单与计价汇总表","5 H.2 暂列金额明细表","6 H.3 专业工程暂估价计价表","7 H.4 计日工表","8 H.5 总承包服务费计价表","9 附录I 税金计价表","10 J.1 材料（工程设备）暂估单价一览表","11 J.2 发包人提供材料（工程设备）一览表","12 J.3 承包人提供材料（工程设备）一览表"],"not_rendered":{"external_links":1,"defined_names":12},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1 E.1 分部分项工程量清单计价表","index":0,"n_rows":257,"n_cols":14,"rows_kept":257,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,0,9,0],[6,1,9,1],[6,2,9,3],[6,4,9,4],[6,5,9,6],[6,7,9,7],[6,8,9,8],[6,9,9,9],[6,10,9,11],[6,12,9,12],[6,13,9,13],[10,0,12,0],[10,1,12,1],[10,2,12,3],[10,4,12,4],[10,5,12,6],[10,7,12,7],[10,8,12,8],[10,9,12,9],[10,10,12,11],[10,12,12,12],[10,13,12,13],[13,2,13,3],[13,5,13,6],[13,10,13,11],[14,2,14,3],[14,5,14,6],[14,10,14,11],[15,2,15,3],[15,5,15,6],[15,10,15,11],[16,2,16,3],[16,5,16,6],[16,10,16,11],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,2,20,3],[20,5,20,6],[20,10,20,11],[21,2,21,3],[21,5,21,6],[21,10,21,11],[22,2,22,3],[22,5,22,6],[22,10,22,11],[23,0,23,13],[24,3,24,13],[25,0,25,13],[26,0,26,5],[26,6,26,10],[26,11,26,13],[27,0,29,0],[27,1,29,1],[27,2,29,3],[27,4,29,4],[27,5,29,6],[27,7,29,7],[27,8,27,13],[28,8,29,8],[28,9,29,9],[28,10,28,13],[29,10,29,11],[30,0,32,0],[30,1,32,1],[30,2,32,3],[30,4,32,4],[30,5,32,6],[30,7,32,7],[30,8,32,8],[30,9,32,9],[30,10,32,11],[30,12,32,12],[30,13,32,13],[33,0,35,0],[33,1,35,1],[33,2,35,3],[33,4,35,4],[33,5,35,6],[33,7,35,7],[33,8,35,8],[33,9,35,9],[33,10,35,11],[33,12,35,12],[33,13,35,13],[36,0,37,0],[36,1,37,1],[36,2,37,3],[36,4,37,4],[36,5,37,6],[36,7,37,7],[36,8,37,8],[36,9,37,9],[36,10,37,11],[36,12,37,12],[36,13,37,13],[38,2,38,3],[38,5,38,6],[38,10,38,11],[39,2,39,3],[39,5,39,6],[39,10,39,11],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,0,45,13],[47,3,47,13],[48,0,48,13],[49,0,49,5],[49,6,49,10],[49,11,49,13],[50,0,52,0],[50,1,52,1],[50,2,52,3],[50,4,52,4],[50,5,52,6],[50,7,52,7],[50,8,50,13],[51,8,52,8],[51,9,52,9],[51,10,51,13],[52,10,52,11],[53,0,54,0],[53,1,54,1],[53,2,54,3],[53,4,54,4],[53,5,54,6],[53,7,54,7],[53,8,54,8],[53,9,54,9],[53,10,54,11],[53,12,54,12],[53,13,54,13],[55,0,57,0],[55,1,57,1],[55,2,57,3],[55,4,57,4],[55,5,57,6],[55,7,57,7],[55,8,57,8],[55,9,57,9],[55,10,57,11],[55,12,57,12],[55,13,57,13],[58,0,60,0],[58,1,60,1],[58,2,60,3],[58,4,60,4],[58,5,60,6],[58,7,60,7],[58,8,60,8],[58,9,60,9],[58,10,60,11],[58,12,60,12],[58,13,60,13],[61,0,63,0],[61,1,63,1],[61,2,63,3],[61,4,63,4],[61,5,63,6],[61,7,63,7],[61,8,63,8],[61,9,63,9],[61,10,63,11],[61,12,63,12],[61,13,63,13],[64,2,64,3],[64,5,64,6],[64,10,64,11],[65,0,65,13],[66,3,66,13],[67,0,67,13],[68,0,68,5],[68,6,68,10],[68,11,68,13],[69,0,71,0],[69,1,71,1],[69,2,71,3],[69,4,71,4],[69,5,71,6],[69,7,71,7],[69,8,69,13],[70,8,71,8],[70,9,71,9],[70,10,70,13],[71,10,71,11],[72,0,74,0],[72,1,74,1],[72,2,74,3],[72,4,74,4],[72,5,74,6],[72,7,74,7],[72,8,74,8],[72,9,74,9],[72,10,74,11],[72,12,74,12],[72,13,74,13],[75,0,78,0],[75,1,78,1],[75,2,78,3],[75,4,78,4],[75,5,78,6],[75,7,78,7],[75,8,78,8],[75,9,78,9],[75,10,78,11],[75,12,78,12],[75,13,78,13],[79,0,81,0],[79,1,81,1],[79,2,81,3],[79,4,81,4],[79,5,81,6],[79,7,81,7],[79,8,81,8],[79,9,81,9],[79,10,81,11],[79,12,81,12],[79,13,81,13],[82,2,82,3],[82,5,82,6],[82,10,82,11],[83,2,83,3],[83,5,83,6],[83,10,83,11],[84,2,84,3],[84,5,84,6],[84,10,84,11],[85,2,85,3],[85,5,85,6],[85,10,85,11],[86,2,86,3],[86,5,86,6],[86,10,86,11],[87,0,87,13],[88,3,88,13],[89,0,89,13],[90,0,90,5],[90,6,90,10],[90,11,90,13],[91,0,93,0],[91,1,93,1],[91,2,93,3],[91,4,93,4],[91,5,93,6],[91,7,93,7],[91,8,91,13],[92,8,93,8],[92,9,93,9],[92,10,92,13],[93,10,93,11],[94,0,96,0],[94,1,96,1],[94,2,96,3],[94,4,96,4],[94,5,96,6],[94,7,96,7],[94,8,96,8],[94,9,96,9],[94,10,96,11],[94,12,96,12],[94,13,96,13],[97,0,98,0],[97,1,98,1],[97,2,98,3],[97,4,98,4],[97,5,98,6],[97,7,98,7],[97,8,98,8],[97,9,98,9],[97,10,98,11],[97,12,98,12],[97,13,98,13],[99,2,99,3],[99,5,99,6],[99,10,99,11],[100,0,102,0],[100,1,102,1],[100,2,102,3],[100,4,102,4],[100,5,102,6],[100,7,102,7],[100,8,102,8],[100,9,102,9],[100,10,102,11],[100,12,102,12],[100,13,102,13],[103,2,103,3],[103,5,103,6],[103,10,103,11],[104,2,104,3],[104,5,104,6],[104,10,104,11],[105,2,105,3],[105,5,105,6],[105,10,105,11],[106,2,106,3],[106,5,106,6],[106,10,106,11],[107,2,107,3],[107,5,107,6],[107,10,107,11],[108,2,108,3],[108,5,108,6],[108,10,108,11],[109,2,109,3],[109,5,109,6],[109,10,109,11],[110,0,110,13],[111,3,111,13],[112,0,112,13],[113,0,113,5],[113,6,113,10],[113,11,113,13],[114,0,116,0],[114,1,116,1],[114,2,116,3],[114,4,116,4],[114,5,116,6],[114,7,116,7],[114,8,114,13],[115,8,116,8],[115,9,116,9],[115,10,115,13],[116,10,116,11],[117,0,119,0],[117,1,119,1],[117,2,119,3],[117,4,119,4],[117,5,119,6],[117,7,119,7],[117,8,119,8],[117,9,119,9],[117,10,119,11],[117,12,119,12],[117,13,119,13],[120,0,121,0],[120,1,121,1],[120,2,121,3],[120,4,121,4],[120,5,121,6],[120,7,121,7],[120,8,121,8],[120,9,121,9],[120,10,121,11],[120,12,121,12],[120,13,121,13],[122,0,123,0],[122,1,123,1],[122,2,123,3],[122,4,123,4],[122,5,123,6],[122,7,123,7],[122,8,123,8],[122,9,123,9],[122,10,123,11],[122,12,123,12],[122,13,123,13],[124,0,125,0],[124,1,125,1],[124,2,125,3],[124,4,125,4],[124,5,125,6],[124,7,125,7],[124,8,125,8],[124,9,125,9],[124,10,125,11],[124,12,125,12],[124,13,125,13],[126,2,126,3],[126,5,126,6],[126,10,126,11],[127,2,127,3],[127,5,127,6],[127,10,127,11],[128,2,128,3],[128,5,128,6],[128,10,128,11],[129,2,129,3],[129,5,129,6],[129,10,129,11],[130,2,130,3],[130,5,130,6],[130,10,130,11],[131,0,131,13],[132,3,132,13],[133,0,133,13],[134,0,134,5],[134,6,134,10],[134,11,134,13],[135,0,137,0],[135,1,137,1],[135,2,137,3],[135,4,137,4],[135,5,137,6],[135,7,137,7],[135,8,135,13],[136,8,137,8],[136,9,137,9],[136,10,136,13],[137,10,137,11],[138,0,139,0],[138,1,139,1],[138,2,139,3],[138,4,139,4],[138,5,139,6],[138,7,139,7],[138,8,139,8],[138,9,139,9],[138,10,139,11],[138,12,139,12],[138,13,139,13],[140,2,140,4],[140,5,140,6],[140,10,140,11],[141,2,141,4],[141,5,141,6],[141,10,141,11],[142,0,144,0],[142,1,144,1],[142,2,144,3],[142,4,144,4],[142,5,144,6],[142,7,144,7],[142,8,144,8],[142,9,144,9],[142,10,144,11],[142,12,144,12],[142,13,144,13],[145,2,145,4],[145,5,145,6],[145,10,145,11],[146,2,146,4],[146,5,146,6],[146,10,146,11],[147,2,147,3],[147,5,147,6],[147,10,147,11],[148,2,148,3],[148,5,148,6],[148,10,148,11],[149,2,149,3],[149,5,149,6],[149,10,149,11],[150,2,150,3],[150,5,150,6],[150,10,150,11],[151,2,151,3],[151,5,151,6],[151,10,151,11],[152,2,152,3],[152,5,152,6],[152,10,152,11],[153,2,153,3],[153,5,153,6],[153,10,153,11],[154,2,154,3],[154,5,154,6],[154,10,154,11],[155,2,155,3],[155,5,155,6],[155,10,155,11],[156,2,156,3],[156,5,156,6],[156,10,156,11],[157,2,157,3],[157,5,157,6],[157,10,157,11],[158,2,158,3],[158,5,158,6],[158,10,158,11],[159,2,159,3],[159,5,159,6],[159,10,159,11],[160,0,160,13],[161,3,161,13],[162,0,162,13],[163,0,163,5],[163,6,163,10],[163,11,163,13],[164,0,166,0],[164,1,166,1],[164,2,166,3],[164,4,166,4],[164,5,166,6],[164,7,166,7],[164,8,164,13],[165,8,166,8],[165,9,166,9],[165,10,165,13],[166,10,166,11],[167,0,170,0],[167,1,170,1],[167,2,170,3],[167,4,170,4],[167,5,170,6],[167,7,170,7],[167,8,170,8],[167,9,170,9],[167,10,170,11],[167,12,170,12],[167,13,170,13],[171,0,174,0],[171,1,174,1],[171,2,174,3],[171,4,174,4],[171,5,174,6],[171,7,174,7],[171,8,174,8],[171,9,174,9],[171,10,174,11],[171,12,174,12],[171,13,174,13],[175,0,176,0],[175,1,176,1],[175,2,176,3],[175,4,176,4],[175,5,176,6],[175,7,176,7],[175,8,176,8],[175,9,176,9],[175,10,176,11],[175,12,176,12],[175,13,176,13],[177,0,177,13],[178,3,178,13],[179,0,179,13],[180,0,180,5],[180,6,180,10],[180,11,180,13],[181,0,183,0],[181,1,183,1],[181,2,183,3],[181,4,183,4],[181,5,183,6],[181,7,183,7],[181,8,181,13],[182,8,183,8],[182,9,183,9],[182,10,182,13],[183,10,183,11],[184,0,186,0],[184,1,186,1],[184,2,186,3],[184,4,186,4],[184,5,186,6],[184,7,186,7],[184,8,186,8],[184,9,186,9],[184,10,186,11],[184,12,186,12],[184,13,186,13],[187,2,187,3],[187,5,187,6],[187,10,187,11],[188,0,190,0],[188,1,190,1],[188,2,190,3],[188,4,190,4],[188,5,190,6],[188,7,190,7],[188,8,190,8],[188,9,190,9],[188,10,190,11],[188,12,190,12],[188,13,190,13],[191,0,193,0],[191,1,193,1],[191,2,193,3],[191,4,193,4],[191,5,193,6],[191,7,193,7],[191,8,193,8],[191,9,193,9],[191,10,193,11],[191,12,193,12],[191,13,193,13],[194,2,194,3],[194,5,194,6],[194,10,194,11],[195,2,195,3],[195,5,195,6],[195,10,195,11],[196,2,196,3],[196,5,196,6],[196,10,196,11],[197,0,197,13],[198,3,198,13],[199,0,199,13],[200,0,200,5],[200,6,200,10],[200,11,200,13],[201,0,203,0],[201,1,203,1],[201,2,203,3],[201,4,203,4],[201,5,203,6],[201,7,203,7],[201,8,201,13],[202,8,203,8],[202,9,203,9],[202,10,202,13],[203,10,203,11],[204,0,205,0],[204,1,205,1],[204,2,205,3],[204,4,205,4],[204,5,205,6],[204,7,205,7],[204,8,205,8],[204,9,205,9],[204,10,205,11],[204,12,205,12],[204,13,205,13],[206,0,207,0],[206,1,207,1],[206,2,207,3],[206,4,207,4],[206,5,207,6],[206,7,207,7],[206,8,207,8],[206,9,207,9],[206,10,207,11],[206,12,207,12],[206,13,207,13],[208,0,209,0],[208,1,209,1],[208,2,209,3],[208,4,209,4],[208,5,209,6],[208,7,209,7],[208,8,209,8],[208,9,209,9],[208,10,209,11],[208,12,209,12],[208,13,209,13],[210,0,211,0],[210,1,211,1],[210,2,211,3],[210,4,211,4],[210,5,211,6],[210,7,211,7],[210,8,211,8],[210,9,211,9],[210,10,211,11],[210,12,211,12],[210,13,211,13],[212,2,212,3],[212,5,212,6],[212,10,212,11],[213,2,213,3],[213,5,213,6],[213,10,213,11],[214,2,214,3],[214,5,214,6],[214,10,214,11],[215,2,215,3],[215,5,215,6],[215,10,215,11],[216,2,216,3],[216,5,216,6],[216,10,216,11],[217,2,217,3],[217,5,217,6],[217,10,217,11],[218,2,218,3],[218,5,218,6],[218,10,218,11],[219,2,219,3],[219,5,219,6],[219,10,219,11],[220,2,220,3],[220,5,220,6],[220,10,220,11],[221,0,221,13],[222,3,222,13],[223,0,223,13],[224,0,224,5],[224,6,224,10],[224,11,224,13],[225,0,227,0],[225,1,227,1],[225,2,227,3],[225,4,227,4],[225,5,227,6],[225,7,227,7],[225,8,225,13],[226,8,227,8],[226,9,227,9],[226,10,226,13],[227,10,227,11],[228,0,230,0],[228,1,230,1],[228,2,230,3],[228,4,230,4],[228,5,230,6],[228,7,230,7],[228,8,230,8],[228,9,230,9],[228,10,230,11],[228,12,230,12],[228,13,230,13],[231,0,232,0],[231,1,232,1],[231,2,232,3],[231,4,232,4],[231,5,232,6],[231,7,232,7],[231,8,232,8],[231,9,232,9],[231,10,232,11],[231,12,232,12],[231,13,232,13],[233,2,233,4],[233,5,233,6],[233,10,233,11],[234,2,234,4],[234,5,234,6],[234,10,234,11],[235,2,235,3],[235,5,235,6],[235,10,235,11],[236,2,236,4],[236,5,236,6],[236,10,236,11],[237,2,237,3],[237,5,237,6],[237,10,237,11],[238,2,238,3],[238,5,238,6],[238,10,238,11],[239,2,239,3],[239,5,239,6],[239,10,239,11],[240,2,240,3],[240,5,240,6],[240,10,240,11],[241,2,241,3],[241,5,241,6],[241,10,241,11],[242,2,242,3],[242,5,242,6],[242,10,242,11],[243,2,243,3],[243,5,243,6],[243,10,243,11],[244,2,244,3],[244,5,244,6],[244,10,244,11],[245,2,245,3],[245,5,245,6],[245,10,245,11],[246,2,246,3],[246,5,246,6],[246,10,246,11],[247,2,247,3],[247,5,247,6],[247,10,247,11],[248,2,248,3],[248,5,248,6],[248,10,248,11],[249,2,249,3],[249,5,249,6],[249,10,249,11],[250,2,250,3],[250,5,250,6],[250,10,250,11],[251,2,251,3],[251,5,251,6],[251,10,251,11],[252,2,252,3],[252,5,252,6],[252,10,252,11],[253,2,253,3],[253,5,253,6],[253,10,253,11],[254,0,254,13],[256,3,256,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,"一","电气设备安装工程",{"$nulls":4},""]
["1","030404017001","配电箱",null,"1、名称：配电箱N1\n2、型号：PZ30\n3、规格：详见图纸设计\n4、配置：配电箱为成套产品，包含所有附件安装\n5、安装方式：嵌墙暗装,下沿距地1.8m\n6、含配电箱开洞及恢复\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","台",null,"1.000"]
[]
[]
[]
["2","030411001001","配管",null,"1、名称：电气配管\n2、材质、规格：SC40\n3、配置形式及部位：暗配\n4、刨沟、凿槽及沟槽恢复\n5、电线管路敷设\n6、接地\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"50.000"]
{"$rows_empty":13}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["3","030411001002","配管",null,"1、名称：电气配管\n2、材质、规格：PC20\n3、配置形式及部位：暗配\n4、刨沟、凿槽及沟槽恢复\n5、电线管路敷设\n6、接地\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"194.080"]
[]
[]
["4","030408001001","电力电缆",null,"1、名称：电力电缆\n2、型号：WDZ-YJY-5*10\n3、敷设方式、部位：穿管或桥架内敷设\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"50.000"]
[]
[]
["5","030411004001","配线",null,"1、配线形式：穿管敷设\n2、导线型号、规格、材质：WDZ-BYJ-4\n3、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"310.260"]
{"$rows_empty":10}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["6","030411004002","配线",null,"1、配线形式：穿管敷设\n2、导线型号、规格、材质：WDZ-BYJ-2.5\n3、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"287.900"]
[]
["7","030404034001","照明开关",null,"1、名称：暗装单极开关\n2、型号：AP86K11-10\n3、安装方式：墙面暗装距地1.4M\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"1.000"]
[]
[]
["8","030404034002","照明开关",null,"1、名称：暗装双极开关\n2、型号：AP86K21-10\n3、安装方式：墙面暗装距地1.4M\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"3.000"]
[]
[]
["9","030404035001","插座",null,"1、名称：单相二、三级插座\n2、型号：10A,~250V\n3、安装方式：嵌墙安装,距地1.2m\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"10.000"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["10","030404035002","插座",null,"1、名称：显示屏专用插座\n2、型号：详见图纸设计\n3、安装方式：嵌墙安装,距地1.5m\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"6.000"]
[]
[]
["11","030412004001","装饰灯",null,"1、名称：定制水晶灯\n2、型号、规格：长2400*宽400*边宽100*灯体800-1000mm ；玫瑰金灯盘、双排水晶圆管800-1000mm\n3、安装形式：顶部安装采用18厘板加固,板四边大于灯具500mm\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"7.000"]
[]
[]
[]
["12","030412004002","装饰灯",null,"1、名称：LED射灯\n2、型号、规格：3寸 5W 4000K\n3、安装形式：嵌入式安装\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"11.000"]
{"$rows_empty":8}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["13","030412004003","装饰灯",null,"1、名称：LED筒灯\n2、型号、规格：4寸 9W 6000K\n3、安装形式：嵌入式安装\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"10.000"]
[]
[]
["14","030412004004","装饰灯",null,"1、名称：LED线条灯带\n2、型号：15W/米  4000K\n3、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"107.300"]
[]
["15","030507014001","显示设备",null,"1、名称：京东方BOE画屏\n2、规格型号：1100mm*700mm\n3、安装方式：壁挂安装","套",null,"6.000"]
["16","030411006001","接线盒",null,"1、名称：开关（插座）盒\n2、材质：塑料\n3、安装形式：暗装\n4、含接线盒开洞及恢复\n5、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"24.000"]
{"$rows_empty":10}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第6页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["17","030411006002","接线盒",null,"1、名称：接线盒\n2、材质：塑料\n3、安装形式：暗装\n4、含接线盒开洞及恢复\n5、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"21.000"]
[]
[]
["18","030411001003","配管",null,"1、名称：电气配管\n2、材质、规格：JDG20\n3、配置要求：暗配\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","m",null,"68.650"]
[]
["19","030502005001","双绞线缆",null,"1、名称：UTP-6E\n2、敷设方式：穿管/桥架\n3、未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料,满足功能需求","m",null,"68.650"]
[]
["20","030502012001","信息插座",null,"1、名称：单孔信息插座\n2、安装方式：距地350mm暗装\n3、未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"8.000"]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第7页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["21","030411006003","接线盒",null,"1、名称：接线盒\n2、材质：钢制\n3、规格：86型\n4、安装形式：暗配\n5、未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"8.000"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"二","消防工程",{"$nulls":4},""]
["22","030901001001","水喷淋钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管DN25\n3、连接形式：螺纹连接\n4、备注：原有喷淋头施工中做成品保护，根据新吊顶高度按原位置下引\n5、未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","m",null,"12.000"]
[]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"三","通风空调工程",{"$nulls":4},""]
{"$rows_empty":14}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第8页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["23","030702001001","碳钢通风管道",null,"1、名称：风管\n2、材质、厚度：镀锌钢板0.75\n3、规格、形状：矩形，长边≤630\n4、管件、法兰等附件等设计要求：角钢法兰连接\n5、法兰与支吊架刷防锈底漆和灰色磁漆各两遍\n6、采用B1级橡塑保温棉保温\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m2",null,"45.920"]
[]
[]
[]
["24","030702001002","碳钢通风管道",null,"1、名称：风管\n2、材质、厚度：镀锌钢板0.5\n3、规格、形状：矩形，长边≤320\n4、管件、法兰等附件等设计要求：角钢法兰连接\n5、法兰与支吊架刷防锈底漆和灰色磁漆各两遍\n6、采用B1级橡塑保温棉保温\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m2",null,"8.500"]
[]
[]
[]
["25","030703001001","碳钢阀门安装",null,"1、名称：70度防火阀\n2、规格：200*160\n3、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"4.000"]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第9页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["26","031008013001","铝合金设备带",null,"1、名称：设备集成带\n2、材质：铝合金\n3、规格：W200mm\n4、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"27.200"]
[]
[]
["27","031208003001","通风管道绝热",null,"1、绝热材料品种：B1级橡塑保温棉；厚度30mm\n2、绝热厚度：厚度:28mm","m3",null,"1.630"]
["28","031001006001","塑料管",null,"1、安装部位：室内\n2、材质：UPVC\n3、介质：冷凝水\n4、规格、压力等级：DN25\n5、连接形式：承插口粘接\n6、部位：风机至走道部分\n7、未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"12.410"]
[]
[]
["29","031001001001","镀锌钢管",null,"1、安装部位：室内\n2、材质：热镀锌钢管\n3、介质：空调水\n4、规格、压力等级：DN20\n5、连接形式：丝接\n6、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","m",null,"23.230"]
[]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第10页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["30","031003001001","螺纹阀门",null,"1、类型：截止阀\n2、材质：详见图纸设计\n3、规格、压力等级：DN20\n4、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","个",null,"4.000"]
[]
["31","031003001002","螺纹阀门",null,"1、类型：电动二通阀\n2、材质：详见图纸设计\n3、规格、压力等级：DN20\n4、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","个",null,"8.000"]
[]
["32","031003001003","螺纹阀门",null,"1、类型：金属软管\n2、规格、压力等级：DN20\n3、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","个",null,"8.000"]
[]
["33","031201001001","管道刷油",null,"1、油漆品种：防锈漆\n2、涂刷遍数、漆膜厚度：除锈后刷二度防锈漆\n3、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","m2",null,"1.820"]
{"$rows_empty":11}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":5},"标段：",{"$nulls":4},"第11页 共11页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["34","031208002001","管道绝热",null,"1、绝热材料品种：空调水管及阀门采用橡塑海绵保温[难燃B1级],空调冷冻水管≤DN50,保温厚度25mm管道外用0.5mm厚的铝皮做保护层\n2、未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","m3",null,"0.050"]
[]
[]
["35","ZB030101001001","空调水系统管道接驳",null,"名称：空调水系统管道接驳\n改造及新增空调水管与主管接驳\n未尽事宜详见招标文件设计、招标答疑设计、图纸、图集及相关规范","项",null,"1.000"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"四","其他",{"$nulls":4},""]
["36","031301017001","脚手架搭拆",null,"1、脚手架搭拆","项",null,"1.000"]
[null,null,"分部小计",{"$nulls":4},""]
{"$rows_empty":19}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"2 附录F 措施项目清单计价表","index":1,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","AC-01",null,"夜间施工增加费",null,null,"0.500"]
["2","AC-02",null,"二次搬运费",null,null,"1.200"]
["3","AC-03",null,"冬雨季施工增加费",null,null,"0.700"]
["4","AC-04",null,"已完工程及设备保护费",null,null,"0.500"]
["5","AC-05",null,"工程定位复测费",null,null,"0.800"]
["6","AC-06",null,"非夜间施工照明费",null,null,""]
["7","AC-07",null,"临时保护设施费",null,null,"0.100"]
["8","AC-08",null,"赶工措施费",null,null,""]
{"$rows_empty":29}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3 附录G 不可竞争项目清单与计价表","index":2,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","AF-01",null,"环境保护费",null,null,"1.000"]
["2","AF-02",null,"文明施工费",null,null,"3.600"]
["3","AF-03",null,"安全施工费",null,null,"3.100"]
["4","AF-04",null,"临时设施费",null,null,"5.800"]
["5","AF-05",null,"工程排污费",null,null,""]
{"$rows_empty":32}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4 H.1 其他项目清单与计价汇总表","index":3,"n_rows":43,"n_cols":6,"rows_kept":43,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,0,40,3],[40,4,40,5],[42,2,42,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":33}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"5 H.2 暂列金额明细表","index":4,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.2 暂列金额明细表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计量单位",null,"暂定金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，如不能详列，也可只列暂定金额总额，投款人应将上述暂列金额计入投标总价中。"]

{"sheet":"6 H.3 专业工程暂估价计价表","index":5,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[40,0,40,4],[40,5,40,6],[42,2,42,7],[43,0,43,7]],"flags":["formulas_cached_only"]}
["H.3 专业工程暂估价计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","工程名称",null,"工程内容",null,"金额(元)",null,"备注"]
{"$rows_empty":37}
["合  计",{"$nulls":4},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表中“金额”由招标人填写。投标时，投标人应按招标人所列金额计入投标总价中。结算时按合同约定结算金额填写。"]

{"sheet":"7 H.4 计日工表","index":6,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,0,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,0,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[40,0,40,7],[42,2,42,8],[43,0,43,8]],"flags":["formulas_cached_only"]}
["H.4 计日工表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["编码","项目名称",null,"单位",null,"数量","综合单价",null,"合价（元）"]
["一","人工",{"$nulls":3},""]
["人工费小计"]
["二","材料",{"$nulls":3},""]
["材料费小计"]
["三","施工机械",{"$nulls":3},""]
["施工机械费小计"]
{"$rows_empty":31}
["合     计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表项目名称、数量由招标人填写，编制最高投标限价时，综合单价由招标人按有关计价规定确定；投标时，综合单价由投标人自主报价，按招标人所列数量计算合价计入投标总价中。结算时，按发承包双方确认的实际数量计算。"]

{"sheet":"8 H.5 总承包服务费计价表","index":7,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["H.5 总承包服务费计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","工程名称",null,"项目价值(元)",null,"服务内容","费率(％)",null,"金额(元)"]
["1","发包人发包专业工程",null,""]
["2","发包人供应材料",null,""]
{"$rows_empty":35}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"9 附录I 税金计价表","index":8,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":3},"9.000"]
{"$rows_empty":37}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"10 J.1 材料（工程设备）暂估单价一览表","index":9,"n_rows":45,"n_cols":8,"rows_kept":45,"merged":[[0,0,0,7],[1,0,1,2],[1,3,1,5],[1,6,1,7],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,7],[43,2,43,7],[44,0,44,7]],"flags":["formulas_cached_only"]}
["J.1 材料（工程设备）暂估单价一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",null,null,"标段：",null,null,"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,null,"计量单位","数量",null,"单价(元)"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，投标人应将上述材料（工程设备）暂估单价计入工程量清单综合单价报价中。"]

{"sheet":"11 J.2 发包人提供材料（工程设备）一览表","index":10,"n_rows":45,"n_cols":10,"rows_kept":45,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,7,4,8],[5,1,5,2],[5,3,5,4],[5,7,5,8],[6,1,6,2],[6,3,6,4],[6,7,6,8],[7,1,7,2],[7,3,7,4],[7,7,7,8],[8,1,8,2],[8,3,8,4],[8,7,8,8],[9,1,9,2],[9,3,9,4],[9,7,9,8],[10,1,10,2],[10,3,10,4],[10,7,10,8],[11,1,11,2],[11,3,11,4],[11,7,11,8],[12,1,12,2],[12,3,12,4],[12,7,12,8],[13,1,13,2],[13,3,13,4],[13,7,13,8],[14,1,14,2],[14,3,14,4],[14,7,14,8],[15,1,15,2],[15,3,15,4],[15,7,15,8],[16,1,16,2],[16,3,16,4],[16,7,16,8],[17,1,17,2],[17,3,17,4],[17,7,17,8],[18,1,18,2],[18,3,18,4],[18,7,18,8],[19,1,19,2],[19,3,19,4],[19,7,19,8],[20,1,20,2],[20,3,20,4],[20,7,20,8],[21,1,21,2],[21,3,21,4],[21,7,21,8],[22,1,22,2],[22,3,22,4],[22,7,22,8],[23,1,23,2],[23,3,23,4],[23,7,23,8],[24,1,24,2],[24,3,24,4],[24,7,24,8],[25,1,25,2],[25,3,25,4],[25,7,25,8],[26,1,26,2],[26,3,26,4],[26,7,26,8],[27,1,27,2],[27,3,27,4],[27,7,27,8],[28,1,28,2],[28,3,28,4],[28,7,28,8],[29,1,29,2],[29,3,29,4],[29,7,29,8],[30,1,30,2],[30,3,30,4],[30,7,30,8],[31,1,31,2],[31,3,31,4],[31,7,31,8],[32,1,32,2],[32,3,32,4],[32,7,32,8],[33,1,33,2],[33,3,33,4],[33,7,33,8],[34,1,34,2],[34,3,34,4],[34,7,34,8],[35,1,35,2],[35,3,35,4],[35,7,35,8],[36,1,36,2],[36,3,36,4],[36,7,36,8],[37,1,37,2],[37,3,37,4],[37,7,37,8],[38,1,38,2],[38,3,38,4],[38,7,38,8],[39,1,39,2],[39,3,39,4],[39,7,39,8],[40,1,40,2],[40,3,40,4],[40,7,40,8],[41,0,41,9],[43,2,43,9],[44,0,44,9]],"flags":["formulas_cached_only"]}
["J.2 发包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号",null,"计量单位",null,"数量","单价(元)","合价(元)",null,"备注"]
{"$rows_empty":40}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表由招标人填写，供投标人在投标报价、确定总承包服务费时参考。"]

{"sheet":"12 J.3 承包人提供材料（工程设备）一览表","index":11,"n_rows":44,"n_cols":11,"rows_kept":44,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,1,2,2],[2,4,2,5],[2,7,2,8],[3,1,3,2],[3,4,3,5],[3,7,3,8],[4,1,4,2],[4,4,4,5],[4,7,4,8],[5,1,5,2],[5,4,5,5],[5,7,5,8],[6,1,6,2],[6,4,6,5],[6,7,6,8],[7,1,7,2],[7,4,7,5],[7,7,7,8],[8,1,8,2],[8,4,8,5],[8,7,8,8],[9,1,9,2],[9,4,9,5],[9,7,9,8],[10,1,10,2],[10,4,10,5],[10,7,10,8],[11,1,11,2],[11,4,11,5],[11,7,11,8],[12,1,12,2],[12,4,12,5],[12,7,12,8],[13,1,13,2],[13,4,13,5],[13,7,13,8],[14,1,14,2],[14,4,14,5],[14,7,14,8],[15,1,15,2],[15,4,15,5],[15,7,15,8],[16,1,16,2],[16,4,16,5],[16,7,16,8],[17,1,17,2],[17,4,17,5],[17,7,17,8],[18,1,18,2],[18,4,18,5],[18,7,18,8],[19,1,19,2],[19,4,19,5],[19,7,19,8],[20,1,20,2],[20,4,20,5],[20,7,20,8],[21,1,21,2],[21,4,21,5],[21,7,21,8],[22,1,22,2],[22,4,22,5],[22,7,22,8],[23,1,23,2],[23,4,23,5],[23,7,23,8],[24,1,24,2],[24,4,24,5],[24,7,24,8],[25,1,25,2],[25,4,25,5],[25,7,25,8],[26,1,26,2],[26,4,26,5],[26,7,26,8],[27,1,27,2],[27,4,27,5],[27,7,27,8],[28,1,28,2],[28,4,28,5],[28,7,28,8],[29,1,29,2],[29,4,29,5],[29,7,29,8],[30,1,30,2],[30,4,30,5],[30,7,30,8],[31,1,31,2],[31,4,31,5],[31,7,31,8],[32,1,32,2],[32,4,32,5],[32,7,32,8],[33,1,33,2],[33,4,33,5],[33,7,33,8],[34,1,34,2],[34,4,34,5],[34,7,34,8],[35,1,35,2],[35,4,35,5],[35,7,35,8],[36,1,36,2],[36,4,36,5],[36,7,36,8],[37,1,37,2],[37,4,37,5],[37,7,37,8],[38,1,38,2],[38,4,38,5],[38,7,38,8],[39,1,39,2],[39,4,39,5],[39,7,39,8],[40,0,40,10],[42,2,42,10],[43,0,43,10]],"flags":["formulas_cached_only"]}
["J.3 承包人提供材料（工程设备）一览表"]
["工程名称：合肥市政务综合楼2号会见厅维修改造项目安装工程",{"$nulls":4},"标段：",null,null,"第1页 共1页"]
["序号","材料（工程设备）名称、规格、型号",null,"计量单位","数量",null,"风险系数(%)","基准单价",null,"投标单价","备注"]
{"$rows_empty":39}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：1.此表由投标人在投标时自主确定投标单价，其他内容由招标人填写。\n   2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。"]